SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

GUIDE SPECIFICATION

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections. This guide specification is provided as a convenience and requires editing to match actual project requirements. CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS. For Crestron design assistance and design review please contact Sales Support Services Department at 800.237.2041 or techsales@crestron.com.

Specifier: Please see PART 4 for a listing of products specified in this Guide Specification.

Table of Contents

1 GENERAL 4

1.1 Description: Managed Audio Video Network Switches 4

2 PRODUCTS 4

2.1 Switch Type 1 4

2.1.1 Basis of Design 4

2.1.2 Device Architecture 4

2.1.3 Functions 5

2.1.4 Controls and Indicators 7

2.1.5 Connectors 7

2.1.6 Power Requirements 8

2.2 Switch Type 2 8

2.2.1 Basis of Design 8

2.2.2 Device Architecture 9

2.2.3 Functions 9

2.2.4 Controls and Indicators 11

2.2.5 Connectors 12

2.2.6 Power Requirements 13

2.3 Switch Type 3 13

2.3.1 Basis of Design 13

2.3.2 Device Architecture 13

2.3.3 Functions 14

2.3.4 Controls and Indicators 16

2.3.5 Connectors 17

2.3.6 Power Requirements 18

2.4 Switch Type 4 18

2.4.1 Basis of Design 18

2.4.2 Device Architecture 18

2.4.3 Functions 19

2.4.4 Controls and Indicators 21

2.4.5 Connectors 22

2.4.6 Power Requirements 22

3 EXECUTION 23

4 APPENDICES 23

4.1 SPECIFIED PRODUCTS 23

4.1.1 Crestron CEN-SWPOE-10 23

4.1.2 Crestron CEN-SWPOE-ULTRA-12 23

4.1.3 Crestron CEN-SWPOE-30 23

4.1.4 Crestron CEN-SWPOE-48 23

4.2 Input / Output Connection Diagrams 24

4.2.1 CEN-SWPOE-10 24

4.2.2 CEN-SWPOE-ULTRA-12 24

4.2.3 CEN-SWPOE-30 25

4.2.4 CEN-SWPOE-48 26

# GENERAL

NOT USED in this Guide Specification. Specifier shall Specify PART 1 administrative and procedural requirements as needed.

## Description: Managed Audio Video Network Switches

# PRODUCTS

## Switch Type 1

Specifier Note:

*The CEN-SWPOE-10 is a 10 port managed Ethernet switch that provides PoE+ from eight of its ports. The two 10 Gigabit Base-X SFP+ ports enable use of transceiver modules to connect to a fiber network.*

### Basis of Design

#### Crestron CEN-SWPOE-10

### Device Architecture

#### Physical Form factor

##### Construction

###### Chassis: Metal, black finish, fan-cooled, vented sides

###### Mounting: Freestanding, or mountable on a flat surface

##### Dimensions

###### Height: 1.57 in. (40 mm)

###### Width: 8.26 in. (210 mm)

###### Depth: 5.51 in. (140 mm)

##### Device weight: 2.13 lb. (9.67 kg)

#### Environmental Operating Conditions

##### 32° to 122° F (0° to 50° C)

##### 10% to 90% RH (non-condensing)

##### Ambient Noise: 3 dB at 77° F (25° C)

#### 

### Functions

#### Ethernet

##### Ports

###### (8) 10/100/1000Base-T auto-sensing Gigabit Ethernet w/PoE+

###### (2) 10 Gigabit Base-X SFP+

##### Network Standards: IEEE 802.3af, 802.3at

##### MAC Addresses: Up to 16K

##### Switch Fabric: 56 Gbps non-blocking

#### Lite Layer 3 Package

##### Management

###### Out-of-band, IT Web GUI (main), HTTPs, CLI, Telnet, SSH, SNMP, MIBs, RSPAN, Radius users, TACACS+

##### IPv4/IPv6 ACL and QoS

###### Ingress/egress, 1 Kbps shaping, time-based, Single rate policing

##### IPv4/IPv6 Multicast Filtering

###### Automated IGMP between switches, IGMPv3 MLDv2 snooping, proxy ASM and SSM, IGMPv1, v2 querier (compatible with v3), Control packet flooding

##### IPv4/IPv6 Policing and Convergence

###### Auto-VoIP, Policy-based routing, LLDP-MED, IEEE 1588 PTPv2

##### IPv4/IPv6 Authentication Security

###### Successive tiering (DOT1X, MAB, Captive portal), DHCP snooping, Dynamic ARP inspection, IP source guard

##### IPv4/IPv6 Static Routing

###### Port, subnet, VLAN routing, Multicast static routes, DHCPv4 server, DHCP relay, Stateful DHCPv6 Server

##### IPv4/IPv6 Dynamic Routing

###### IPv4: RIP

###### IPv4/IPv6: PIM-SM, PIM-DM, SSM

##### Spanning Tree Green Ethernet

###### STP, MTP, RSTP, PV(R)STP, BPDU/STRG, EEE 802.3az

##### VLANs

###### Static, dynamic, voice, MAC, GVRP/GMRP, Double VLAN mode, Private VLANs

### Controls and Indicators

#### Indicators

##### POWER: (1) green LED, indicates operating power supplied via main power input

##### FAN: (1) green LED, indicates fan is in operation

##### PoE MAX: (1) green LED, indicates the unit is supplying the maximum amount of PoE

##### OOB: (2) green LEDs for Ethernet port, indicates Ethernet link status for out-of-band (service) port

##### 1-8: (2) LEDs per each (8) Ethernet port, left (green) LEDs indicate Ethernet link status for each corresponding port, right (blue) LEDs indicate PoE for each corresponding port

##### 9-10: (1) green LED per SFP+ port, indicates active connection

### Connectors

#### OOB: (1) 8-wire RJ45, female; 10/100/1000Base-T Ethernet port

#### CONSOLE: USB-C® port, female

#### USB Storage: USB Type B, female

#### 54V - 4.7A: (1) power connector

#### 1-8: (8) 8-wire RJ45, female

##### 10/100/1000Base-T Ethernet ports and PoE Power Sourcing Equipment (PSE) outputs

##### Supports IEEE 802.3at Type 2 PoE+ power sourcing from any ports up to the maximum specified power capabilities

###### Maximum 30 Watts per port, 220 Watts total

#### 9-10: (2) SFP+ ports, female; 10 Gigabit Base-X SFP+

### Power Requirements

#### Main Power: 4.7 Amps @ 100-240 Volts AC, 50/60 Hz

#### Power Consumption

##### Max PoE: 257.7 W

##### No PoE: 18.14 W

##### Standby: 9.51 W

## Switch Type 2

Specifier Note:

*The CEN-SWPOE-ULTRA-12 is a 12 port managed Ethernet switch that provides PoE++ from eight of its ports. The two 10 Gigabit Base-X SFP+ ports enable use of transceiver modules to connect to a fiber network.*

### Basis of Design

#### Crestron CEN-SWPOE-ULTRA-12

### Device Architecture

#### Physical Form factor

##### Construction

###### Chassis: Metal, black finish, fan-cooled, vented sides

###### Mounting: Freestanding or 1U 19-inch rack-mountable with reversible rack ears

##### Dimensions

###### Height: 1.7 in. (43.2 mm)

###### Width: 17.32 in. (440 mm)

###### Depth: 10.11 in. (257 mm)

##### Device weight: 8.44 lb. (3.83 kg)

#### Environmental Operating Conditions

##### 32° to 122° F (0° to 50° C)

##### 10% to 90% RH (non-condensing)

##### Ambient Noise: 50.5 dB at 77° F (25° C)

#### 

### Functions

#### Ethernet

##### Ports

###### (2) 10/100/1000Base-T auto-sensing Gigabit ethernet

###### (8) 10/100/1000Base-T auto-sensing Gigabit Ethernet w/PoE++

###### (2) 10 Gigabit Base-X SFP+

##### Network Standards: IEEE 802.3af, 802.3at, 802.3bt

##### MAC Addresses: Up to 16K

##### Switch Fabric: 60 Gbps non-blocking

#### Lite Layer 3 Package

##### Management

###### Out-of-band, IT Web GUI (main), HTTPs, CLI, Telnet, SSH, SNMP, MIBs, RSPAN, Radius users, TACACS+

##### IPv4/IPv6 ACL and QoS

###### Ingress/egress, 1 Kbps shaping, time-based, Single rate policing

##### IPv4/IPv6 Multicast Filtering

###### Automated IGMP between switches, IGMPv3 MLDv2 snooping, proxy ASM and SSM, IGMPv1, v2 querier (compatible with v3), Control packet flooding

##### IPv4/IPv6 Policing and Convergence

###### Auto-VoIP, Policy-based routing, LLDP-MED, IEEE 1588 PTPv2

##### IPv4/IPv6 Authentication Security

###### Successive tiering (DOT1X, MAB, Captive portal), DHCP snooping, Dynamic ARP inspection, IP source guard

##### IPv4/IPv6 Static Routing

###### Port, subnet, VLAN routing, Multicast static routes, DHCPv4 server, DHCP relay, Stateful DHCPv6 Server

##### IPv4/IPv6 Dynamic Routing

###### IPv4: RIP

###### IPv4/IPv6: PIM-SM, PIM-DM, SSM

##### Spanning Tree Green Ethernet

###### STP, MTP, RSTP, PV(R)STP, BPDU/STRG, EEE 802.3az

##### VLANs

###### Static, dynamic, voice, MAC, GVRP/GMRP, Double VLAN mode, Private VLANs

### Controls and Indicators

#### Indicators

##### POWER: (1) green LED, indicates operating power supplied via main power input

##### FAN: (1) green LED, indicates fan is in operation

##### PoE MAX: (1) green LED, indicates the unit is supplying the maximum amount of PoE

##### OOB: (2) green LEDs for Ethernet port, indicates Ethernet link status for out-of-band (service) port

##### 1-8: (2) LEDs per each (8) Ethernet port, left (green) LEDs indicate Ethernet link status for each corresponding port, right (blue) LEDs indicate PoE for each corresponding port

##### 9-10: (1) green LED per each (2) Ethernet port, indicates Ethernet link status for each corresponding port.

##### 11-12: (1) green LED per SFP+ port, indicates active connection

### Connectors

#### OOB: (1) 8-wire RJ45, female; 10/100/1000Base-T Ethernet port

#### CONSOLE: USB-C® port, female

#### USB-C: USB-C® port, female

#### 100-240V: (1) power connector

#### USB: USB Type B, female

#### LED EXT: USB-C® port, female

#### 1-8: (8) 8-wire RJ45, female

##### 10/100/1000Base-T Ethernet ports and PoE Power Sourcing Equipment (PSE) outputs

##### Supports IEEE 802.3bt Type 3 PoE++ power sourcing from any ports up to the maximum specified power capabilities

###### Maximum 90 Watts per port, 720 Watts total

#### 9-10: (2) 8-wire RJ45, female; 10/100/1000Base-T Ethernet Ports

#### 11-12: (2) SFP+ ports, female; 10 Gigabit Base-X SFP+

### Power Requirements

#### Main Power: 10 Amps @ 100-240 Volts AC, 50/60 Hz

#### Power Consumption

##### Max PoE: 837.7 W

##### No PoE: 26.3 W

##### Standby: 18 W

## Switch Type 3

Specifier Note:

*The CEN-SWPOE-30 is a 30 port managed Ethernet switch that provides PoE+ from 24 of its ports. The four 10 Gigabit Base-X SFP+ ports enable use of transceiver modules to connect to a fiber network.*

### Basis of Design

#### Crestron CEN-SWPOE-30

### Device Architecture

#### Physical Form factor

##### Construction

###### Chassis: Metal, black finish, fan-cooled, vented sides

###### Mounting: Freestanding or 1U 19-inch rack-mountable with reversible rack ears

##### Dimensions

###### Height: 1.7 in. (43.2 mm)

###### Width: 17.32 in. (440 mm)

###### Depth: 15.74 in. (400 mm)

##### Device weight: 12.02 lb. (5.45 kg)

#### Environmental Operating Conditions

##### 32° to 122° F (0° to 50° C)

##### 10% to 90% RH (non-condensing)

##### Ambient Noise: 42 dB at 77° F (25° C)

#### 

### Functions

#### Ethernet

##### Ports

###### (2) 10/100/1000Base-T auto-sensing Gigabit ethernet

###### (24) 10/100/1000Base-T auto-sensing Gigabit Ethernet w/PoE+

###### (4) 10 Gigabit Base-X SFP+

##### Network Standards: IEEE 802.3af, 802.3at

##### MAC Addresses: Up to 16K

##### Switch Fabric: 132 Gbps non-blocking

#### Lite Layer 3 Package

##### Management

###### Out-of-band, IT Web GUI (main), HTTPs, CLI, Telnet, SSH, SNMP, MIBs, RSPAN, Radius users, TACACS+

##### IPv4/IPv6 ACL and QoS

###### Ingress/egress, 1 Kbps shaping, time-based, Single rate policing

##### IPv4/IPv6 Multicast Filtering

###### Automated IGMP between switches, IGMPv3 MLDv2 snooping, proxy ASM and SSM, IGMPv1, v2 querier (compatible with v3), Control packet flooding

##### IPv4/IPv6 Policing and Convergence

###### Auto-VoIP, Policy-based routing, LLDP-MED, IEEE 1588 PTPv2

##### IPv4/IPv6 Authentication Security

###### Successive tiering (DOT1X, MAB, Captive portal), DHCP snooping, Dynamic ARP inspection, IP source guard

##### IPv4/IPv6 Static Routing

###### Port, subnet, VLAN routing, Multicast static routes, DHCPv4 server, DHCP relay, Stateful DHCPv6 Server

##### IPv4/IPv6 Dynamic Routing

###### IPv4: RIP

###### IPv4/IPv6: PIM-SM, PIM-DM, SSM

##### Spanning Tree Green Ethernet

###### STP, MTP, RSTP, PV(R)STP, BPDU/STRG, EEE 802.3az

##### VLANs

###### Static, dynamic, voice, MAC, GVRP/GMRP, Double VLAN mode, Private VLANs

### Controls and Indicators

#### Indicators

##### POWER: (1) green LED, indicates operating power supplied via main power input

##### FAN: (1) green LED, indicates fan is in operation

##### PoE MAX: (1) green LED, indicates the unit is supplying the maximum amount of PoE

##### OOB: (2) green LEDs for Ethernet port, indicates Ethernet link status for out-of-band (service) port

##### 1-24: (2) LEDs per each (24) Ethernet port, left (green) LEDs indicate Ethernet link status for each corresponding port, right (blue) LEDs indicate PoE for each corresponding port

##### 25-26: (1) green LED per each (2) Ethernet port, indicates Ethernet link status for each corresponding port.

##### 27-30: (1) green LED per SFP+ port, indicates active connection

### Connectors

#### OOB: (1) 8-wire RJ45, female; 10/100/1000Base-T Ethernet port

#### CONSOLE: USB-C® port, female

#### 100-240V: (1) power connector

#### USB: USB Type B, female

#### LED EXT: USB-C® port, female

#### 1-24: (24) 8-wire RJ45, female

##### 10/100/1000Base-T Ethernet ports and PoE Power Sourcing Equipment (PSE) outputs

##### Supports IEEE 802.3at Type 2 PoE+ power sourcing from any ports up to the maximum specified power capabilities

###### Maximum 30 Watts per port, 480 Watts total

#### 25-26: (2) 8-wire RJ45, female; 10/100/1000Base-T Ethernet Ports

#### 27-30: (4) SFP+ ports, female; 10 Gigabit Base-X SFP+

### Power Requirements

#### Main Power: 6.4-2.5 Amps @ 100-240 Volts AC, 50/60 Hz

#### Power Consumption

##### Max PoE: 614 W

##### No PoE: 46.8 W

##### Standby: 33.90 W

## Switch Type 4

Specifier Note:

*The CEN-SWPOE-48 is a 48 port managed Ethernet switch that provides PoE+ from 40 of its ports. The eight 10 Gigabit Base-X SFP+ ports enable use of transceiver modules to connect to a fiber network.*

### Basis of Design

#### Crestron CEN-SWPOE-48

### Device Architecture

#### Physical Form factor

##### Construction

###### Chassis: Metal, black finish, fan-cooled, vented sides

###### Mounting: Freestanding or 1U 19-inch rack-mountable with reversible rack ears

##### Dimensions

###### Height: 1.7 in. (43.2 mm)

###### Width: 17.32 in. (440 mm)

###### Depth: 15.74 in. (400 mm)

##### Device weight: 13.91 lb. (6.31 kg)

#### Environmental Operating Conditions

##### 32° to 122° F (0° to 50° C)

##### 10% to 90% RH (non-condensing)

##### Ambient Noise: 59 dB at 77° F (25° C)

#### 

### Functions

#### Ethernet

##### Ports

###### (40) 10/100/1000Base-T auto-sensing Gigabit Ethernet w/PoE+

###### (8) 10 Gigabit Base-X SFP+

##### Network Standards: IEEE 802.3af, 802.3at

##### MAC Addresses: Up to 16K

##### Switch Fabric: 240 Gbps non-blocking

#### Lite Layer 3 Package

##### Management

###### Out-of-band, IT Web GUI (main), HTTPs, CLI, Telnet, SSH, SNMP, MIBs, RSPAN, Radius users, TACACS+

##### IPv4/IPv6 ACL and QoS

###### Ingress/egress, 1 Kbps shaping, time-based, Single rate policing

##### IPv4/IPv6 Multicast Filtering

###### Automated IGMP between switches, IGMPv3 MLDv2 snooping, proxy ASM and SSM, IGMPv1, v2 querier (compatible with v3), Control packet flooding

##### IPv4/IPv6 Policing and Convergence

###### Auto-VoIP, Policy-based routing, LLDP-MED, IEEE 1588 PTPv2

##### IPv4/IPv6 Authentication Security

###### Successive tiering (DOT1X, MAB, Captive portal), DHCP snooping, Dynamic ARP inspection, IP source guard

##### IPv4/IPv6 Static Routing

###### Port, subnet, VLAN routing, Multicast static routes, DHCPv4 server, DHCP relay, Stateful DHCPv6 Server

##### IPv4/IPv6 Dynamic Routing

###### IPv4: RIP

###### IPv4/IPv6: PIM-SM, PIM-DM, SSM

##### Spanning Tree Green Ethernet

###### STP, MTP, RSTP, PV(R)STP, BPDU/STRG, EEE 802.3az

##### VLANs

###### Static, dynamic, voice, MAC, GVRP/GMRP, Double VLAN mode, Private VLANs

### Controls and Indicators

#### Indicators

##### POWER: (1) green LED, indicates operating power supplied via main power input

##### FAN: (1) green LED, indicates fan is in operation

##### PoE MAX: (1) green LED, indicates the unit is supplying the maximum amount of PoE

##### OOB: (2) green LEDs for Ethernet port, indicates Ethernet link status for out-of-band (service) port

##### 1-40: (2) LEDs per each (40) Ethernet port, left (green) LEDs indicate Ethernet link status for each corresponding port, right (blue) LEDs indicate PoE for each corresponding port

##### 41-48: (1) green LED per SFP+ port, indicates active connection

### Connectors

#### OOB: (1) 8-wire RJ45, female; 10/100/1000Base-T Ethernet port

#### CONSOLE: USB-C® port, female

#### 100-240V: (1) power connector

#### USB: USB Type B, female

#### LED EXT: USB-C® port, female

#### 1-40: (40) 8-wire RJ45, female

##### 10/100/1000Base-T Ethernet ports and PoE Power Sourcing Equipment (PSE) outputs

##### Supports IEEE 802.3at Type 2 PoE+ power sourcing from any ports up to the maximum specified power capabilities

###### Maximum 30 Watts per port, 960 Watts total

#### 41-48: (8) SFP+ ports, female; 10 Gigabit Base-X SFP+

### Power Requirements

#### Main Power: 12 Amps @ 100-240 Volts AC, 50/60 Hz

#### Power Consumption

##### Max PoE: 1197 W

##### No PoE: 89.2 W

##### Standby: 74.5 W

# EXECUTION

NOT USED in this Guide Specification. Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

### Crestron CEN-SWPOE-10

### Crestron CEN-SWPOE-ULTRA-12

### Crestron CEN-SWPOE-30

### Crestron CEN-SWPOE-48

## Input / Output Connection Diagrams

### CEN-SWPOE-10

Diagram, schematic

Description automatically generated

### CEN-SWPOE-ULTRA-12

Diagram

Description automatically generated

### CEN-SWPOE-30

Diagram

Description automatically generated

### CEN-SWPOE-48

Diagram

Description automatically generated