# SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

GENERAL

PRODUCTS

Digital Signal Matrix Switching And Transmission System

Basis-of-Design Manufacturer:  Subject to compliance with requirements, provide products of Crestron Electronics, Inc., Rockleigh, NJ 07647,  Phone (800)237-2041, Fax: (201)767-1903, www.crestron.com

Specifier: The following paragraphs include related AV system components specified in other sections.  Paragraph “A” and sub-paragraphs may be edited or deleted to suite actual project needs.

The system shall be composed of the following components:

Automation and control system.

Hardware control processor.

Hardware and software user interfaces.

Digital Signal matrix switcher unit with card cage architecture to house digital signal input and output cards.

Digital signal input and output cards.

Long distance transmission devices for:

UTP and STP cable.

Multi-mode fiber cable.

Single mode fiber cable.

Software for:

System configuration

System Management

Digital Signal Matrix Switcher

Specifier: The following information related to the DM-MD64X64 is based on preliminary information.  All information is subject to change.

Basis of design product: Crestron DM-MD64X64 DigitalMedia Switcher.

The switcher shall integrate with external control systems by same manufacturer.

All control capabilities shall be accessible by compatible networked control systems.

External control shall not be limited to a single controller.

The system shall be capable of stand-alone switching operation through use of a built-in front panel control interface.

The switcher shall incorporate card cage architecture with slots for modular input cards, output cards and power supplies.

Cards and modules

Input cards shall be cold swappable.

Input cards shall contain 8 signal inputs.

Output cards shall be cold swappable.

Output cards shall contain 8 signal outputs.

Power supplies shall be hot swappable.

The switcher shall have capacity for:

Inputs Modules:

Minimum of 1 input card for 8 signal inputs.

Maximum of 8 input cards for 64 signal inputs.

Output Modules:

Minimum of 1 output card for 8 signal outputs.

Maximum of 8 output cards for 64 signal outputs.

Power Supply Modules:

Minimum of 1 power supply module.

Maximum of 2 power supply modules.

Standard factory configuration shall include 2 power supplies.

Each power supply shall be capable of powering the switcher.

Hot-swappable fan tray.

The Switcher shall support the following input and output signal cards:

Input blade:

8 UTP or STP input connections.

8 multi-mode fiber input connections.

8 single-mode fiber input connections.

8 HDMI input connections.

Output blade:

8 UTP or STP output connections.

8 multi-mode fiber output connections.

8 single-mode fiber output connections.

8 HDMI output connections.

Switcher Signal Routing

Any input shall be routable to a single output or multiple outputs.

The Switcher shall support HDBaseT signal specifications.

Ethernet Network

The Switcher shall include 2 Gigabit Ethernet ports.

The Switcher shall contain an Integrated gigabit managed Ethernet switch.

Software

The Switcher shall be equipped with software for setup, configuration and diagnostics.

The Switcher shall be equipped with signal management software for:

Resolution management via EDID.

HDCP key management.

CEC signal management.

Front panel user interface

The switcher shall include an integrated front panel touch screen user interface.

The Switcher touch screen user interface shall be capable of the following:

Switcher setup.

Switcher configuration.

Switcher system diagnostics.

Switcher control.

Switcher status.

Fault monitoring.

EXECUTION

END OF SECTION 27 41 16