SECTION 25 11 13

INTEGRATED AUTOMATION NETWORK SERVERS

Equipment Specified in this section:

Crestron CEN-FUSION-R320

Table of Contents

PART 1 GENERAL 3

1.1 SUMMARY 3

A. Section Includes: 3

B. Related Requirements: 3

PART 2 PRODUCTS 3

2.1 SERVER 3

A. Hardware Requirements: 3

B. Software Requirements: 4

C. Communications interfaces: 4

END OF SECTION 25 11 13 4

 SECTION 25 11 13

INTEGRATED AUTOMATION NETWORK SERVERS

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections. This guide specification is provided as a convenience and requires editing to match actual project requirements. CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS. For Crestron design assistance and design review please contact Sales Support Services Department at 800.237.2041 or techsales@crestron.com.

1. GENERAL
	1. SUMMARY
		1. Section Includes:
			1. Hardware server pre-configured with software as specified in this section.
		2. Related Requirements:
			1. Section 12 24 13 — Roller Window Shades
			2. Section 23 09 23 — Direct Digital Control System for HVAC
			3. Section 25 08 00 — Commissioning of Integrated Automation
			4. Section 25 10 00 — Integrated Automation Network Equipment
			5. Section 25 11 13 — Integrated Automation Network Servers
			6. Section 25 13 16 — Integrated Automation Control and Monitoring Network Integration Panels
			7. Section 25 13 19 — Integrated Automation Control and Monitoring Network Interoperability
			8. Section 25 15 16 — Integrated Automation Software for Control and Monitoring Networks
			9. Section 25 50 00 — Integrated Automation Facility Controls
			10. Section 26 09 43.13 — Digital-Network Lighting Controls
			11. Section 26 05 00 — Common Work Results for Electrical
			12. Section 26 09 23 — Lighting Control Devices
			13. Section 26 09 36 — Modular Dimming Controls
			14. Section 26 09 43 — Network Lighting Controls
			15. Section 27 15 00 — Communications Horizontal Cabling
			16. Section 27 41 00 — Audio-Video Systems
2. PRODUCTS
	1. SERVER
		1. Hardware Requirements:
			1. Processor: Quad-Core Intel Xeon ES-1410 2.80 GHz processor
			2. Memory: 8 GB RAM
			3. Ethernet: Dual gigabit Ethernet adaptor
			4. Storage: two 500 GB 7.2K SATA
			5. Power Supply: 350W
		2. Software Requirements:
			1. Microsoft Windows Server 2008 R2 Standard
			2. Microsoft SQL Server 2008 R2 Standard
			3. Microsoft .Net Framework
			4. Microsoft IIS
			5. Crestron SW-FUSION-RV
		3. Communications interfaces:

Communication with external devices shall be through the following interfaces.

* + - 1. Interface: Dual Gigabit Ethernet (RJ-45).
				1. Functionality: Communication with control processors, assets and external data servers.

END OF SECTION 25 11 13