**SECTION 27 41 16**

**INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT**

**GUIDE SPECIFICATION**

*Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections. This guide specification is provided as a convenience and requires editing to match actual project requirements. CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS. For Crestron design assistance and design review please contact Sales Support Services Department at 800.237.2041 or techsales@crestron.com.*

*Specifier: Please see PART 4 for a listing of products specified in this Guide Specification.*

**Table of Contents**

**1 GENERAL 3**

1.1 Description: 5.25" 2-Way In-Ceiling Speakers 3

**2 PRODUCTS 3**

2.1 Speakers 3

2.1.1 Basis of Design Speaker: 3

2.1.2 Ceiling mounted 2-way speaker with the following specifications: 3

**3 EXECUTION 4**

**4 APPENDICES 4**

4.1 SPECIFIED PRODUCTS 4

4.1.1 Crestron EXCITE IC5-W-T 4

# **GENERAL**

*NOT USED in this Guide Specification. Specifier shall Specify PART 1 administrative and procedural requirements as needed.*

## **Description: 5.25" 2-Way In-Ceiling Speakers**

##

# **PRODUCTS**

## **Speakers**

### Basis of Design Speaker:

#### Crestron EXCITE IC5-W-T

### Ceiling mounted 2-way speaker with the following specifications:

#### Performance:

##### Sensitivity: 87 dB at one meter, with 1-W input

##### Frequency Response: Within plus or minus 3 dB from 60 to 20,000 Hz

##### Coverage: 100 degrees conical

##### Power Handling: 60 Watts Program

##### Speaker unit shall be equipped for Low Impedance 8-Ohm operation.

#### Baffle: ABS Plastic

#### Termination:

##### Spring Terminals

#### Grille:

##### Perferated aluminium

#### Drivers:

##### 5.25-inch polypropylene woofer with rubber surround and steel basket

##### .79-inch treated cloth dome tweeter with swivel

##### Crossover: 2nd order Linkwitz-Riley

# **EXECUTION**

*NOT USED in this Guide Specification. Specifier shall Specify PART 3 On-Site work as needed.*

# **APPENDICES**

## **SPECIFIED PRODUCTS**

### Crestron EXCITE IC5-W-T